## Slide 1
Optimization of multifluid microgrids,
the REIDS project in Singapore
Baptiste ROSSI | baptiste.rossi@engie.com | 31/05/2017, SESO-2017

## Slide 3
Target is to: Build microgrid management system for offgrid areas
REIDS is a Singapore based demonstrator & test bed
Various technologies (RE, Storage, Genset, H2, Gas, Water …)
In a nutshell

## Slide 4: Plan of the presentation
Presentation of the REIDS project :
specificities, assets
Optimization problems:
Many topics of today’s programme 
Multifluid synergies, Interoperability issues

## Slide 5
Public-Private consortium
  4 Microgrids built by different partners
Solutions for off-grid microgrids:
Electrical islands
Telecommunication limited islands
Variety of assets: Genset, RnE, P2P, Desalination
Specificities of REIDS

## Slide 6
Assets in REIDS Assets connected to Engie’s grid

## Slide 7
Local energy management system:
Driving the assets towards optimized behavior
Real time management of the grid:
  Stability
  Storage and RnE integration
  On-grid/Off-grid services
Local decisions to be taken … locally
+ deployment constraints, cloud vs edge
Completely autonomous solution
Global objective: Local Energy Management System, decentralizing production and decisions
Grid
RnE production
Weather parameters
Local grid state
Local production
Local storage

## Slide 8: Plan of the presentation
Presentation of the REIDS project :
specificities, assets
Optimization problems:
almost all topics of today’s programme 
Multifluid synergies, Interoperability issues

## Slide 9
Optimization problems, depending on time scales
Combination of various problems:
  Electrical:
    Optimal Power Flow
    Unit Commitment
    Battery lifetime optimization
  Economic Dispatch & Scheduling:
    Storage, gas& other fluids: Targets, flexible loads
Engie EMS
PMS
μEMS –
Optimization multifluid :
Guiding the multifluid grid towards optimized KPIs
Power control :
Stability, following commands given by EMS

## Slide 10
Low level: <1min
  Optimal power flow
  Stability handling, reserves …
  Matching targets from upper level
Usage Level: 1-15min for 24h
  Dispatch and sizing of targets (eg Battery, H2 …)
  Unit commitment
  Battery ageing
MidTerm: multi-day horizon
  Unit commitment, maintenance scheduling, longer term arbitrages
Decomposition depending on time scale
Voltage, Frequency
Real time balancing
Production scheduling,
Storage strategy
Reserves & priorities
Production,
Maintenance,
Storage strategy
Predictive control
But stochastic will be better, especially for 2 last problems

## Slide 11: Plan of the presentation
Presentation of the REIDS project :
specificities, assets
Optimization problems:
almost all topics of today’s programme 
Multifluid synergies, Ontologies/Interoperability issues

## Slide 12
Various assets or systems to model and to control, each one having his own constraints and interactions with different fluids
 «Genericity» is key in the approach, a wide variety of assets to be modeled, project is to address wide range of situations and assess synergies
Interactions between different networks / energies
Heat network
Electrical grid
Gas network
Water network
PV panels
Windmills
Storage
P2G
H2
Heat pump
1
2

## Slide 13
Value is in optimization, pain is in integration
Ontologies, optimization and interoperability
Input data:
Grid description
Forecasts
Data on assets
Assets have a « Type »
Generate model and equations, parameters and solving algorithm
Results / set points for assets
Each asset has its own interface / controller / telco protocol, rules to access …
Ontologies and standardization is key in energy to make it work
It is somewhat common in modeling & optimization, key for rules engine and cascading orders.
Real time data from sensor
Setpoint to asset
Targets from Control problem